## Estimate
INTERIOR DEMOLITION ESTIMATE
CONTRACTOR
Business name | Example Demolition & Excavation
Address | 600 Example Industrial Road, Sampletown
Phone / email | [Phone or email]
License no. | [License no., if applicable]
ESTIMATE DETAILS
Estimate no. | ID-2026-031
Date | 14 Oct 2026
Valid until | 13 Nov 2026
Prepared by | [Estimator name]
CLIENT AND SITE
Client name | Example Cafe Co.
Contact | [Name, phone or email]
Site address | Unit 4, 55 Example High Street, Sampletown
Building type | Ground-floor commercial unit
Year built | 1974
SCOPE
Areas affected | Front of house and kitchen, about 950 sq ft
Areas kept | Restrooms, storefront and HVAC equipment
Access and hours | Rear service door; weekdays only
PROTECTION AND PREPARATION
Description | Qty | Unit | Unit price | Amount
Floor protection in retained areas | 400 | sq ft | 0.85 | 340
Dust barriers with zip doors | 3 | ea | 145 | 435
Make safe: isolate circuits in strip-out area (licensed electrician) | 1 | lot | 520 | 520
Protection subtotal |  |  |  | 1295
FRONT-OF-HOUSE STRIP-OUT
Description | Qty | Unit | Unit price | Amount
Remove suspended ceiling grid and tiles | 620 | sq ft | 1.1 | 682
Remove vinyl plank flooring and adhesive | 620 | sq ft | 1.45 | 899
Remove non-structural partition wall | 24 | lin ft | 38 | 912
Remove service counter and wall shelving | 1 | lot | 450 | 450
Front-of-house subtotal |  |  |  | 2943
KITCHEN STRIP-OUT
Description | Qty | Unit | Unit price | Amount
Disconnect and remove sinks (plumber caps lines) | 2 | ea | 210 | 420
Remove wall tile | 180 | sq ft | 2.4 | 432
Remove floor tile and setting bed | 330 | sq ft | 3.1 | 1023
Kitchen subtotal |  |  |  | 1875
DEBRIS REMOVAL AND CLEANUP
Description | Qty | Unit | Unit price | Amount
20 cu yd dumpster, disposal fees included | 2 | ea | 640 | 1280
HEPA vacuum and broom-clean on completion | 1 | lot | 380 | 380
Debris and cleanup subtotal |  |  |  | 1660
Subtotal |  |  |  | 7773
Contingency |  |  | 10% | 777.3
Sales tax, if applicable |  |  | 0% | 0
Estimated total |  |  |  | 8550.3
Proposed deposit |  |  | 10% | 855.03
INCLUDED
Removal and disposal of the items listed
Protection of retained areas and dust barriers
Broom-clean condition on completion
NOT INCLUDED
Hazardous-material testing or abatement (asbestos, lead, mold)
Structural work, shoring or removal of load-bearing walls
Rebuilding or finishing work after the strip-out
Repairs to services found damaged behind finishes
ASSUMPTIONS
The building owner has approved the work and any permits needed are in place before work starts
Work happens during the hours listed; out-of-hours work is priced separately
Accepted by (client signature) |  | Print name and title
Date |  | Contractor signature
Prices are valid until the date shown above. Quantities are based on the site visit and may change if concealed conditions are found.