DEMOLITION ESTIMATE

| CONTRACTOR Business name: Example Demolition & Excavation Address: 600 Example Industrial Road, Sampletown Phone / email: [Phone or email] License no.: [License no., if applicable] | ESTIMATE DETAILS Estimate no.: DM-2026-112 Date: 8 Oct 2026 Valid until: 7 Nov 2026 Prepared by: [Estimator name] |
| --- | --- |

CLIENT AND SITE

| Client name | Sample Properties LLC | Contact | [Name, phone or email] |
| --- | --- | --- | --- |
| Site address | 310 Sample Road, Sampletown |  |  |
| Parcel / lot no. | [Parcel no.] |  |  |

STRUCTURE

| Structure type | Detached house, wood frame | Footprint | 1,200 sq ft |
| --- | --- | --- | --- |
| Stories | 1 plus crawl space | Year built | 1958 |
| Foundation | Concrete block on footings |  |  |

BEFORE DEMOLITION

| Hazardous-materials survey | Completed 2 Oct 2026, report [Report no.] |  |  |
| --- | --- | --- | --- |
| Utility disconnects | Electric and gas: owner to arrange with utilities; water and sewer: capped by contractor |  |  |
| Demolition permit | Contractor to apply |  |  |

PRE-DEMOLITION AND PERMITS

| Description | Qty | Unit | Unit price | Amount |
| --- | --- | --- | --- | --- |
| Demolition permit application (permit fee passed through at cost) | 1 | lot | 450.00 | 450.00 |
| Cap water and sewer lines | 1 | lot | 850.00 | 850.00 |
| Erosion control and temporary site fencing | 240 | lin ft | 3.25 | 780.00 |
| Pre-demolition subtotal |  |  |  | 2,080.00 |

DEMOLITION LABOR AND EQUIPMENT

| Description | Qty | Unit | Unit price | Amount |
| --- | --- | --- | --- | --- |
| Excavator with operator | 3 | day | 1,650.00 | 4,950.00 |
| Labor crew of 3 | 3 | day | 1,140.00 | 3,420.00 |
| Break out and remove foundation and footings | 1 | lot | 2,200.00 | 2,200.00 |
| Dust control (water supply and hoses) | 3 | day | 180.00 | 540.00 |
| Demolition subtotal |  |  |  | 11,110.00 |

HAULING AND DISPOSAL

| Description | Qty | Unit | Unit price | Amount |
| --- | --- | --- | --- | --- |
| Mixed debris haul, 30 cu yd roll-off | 6 | load | 525.00 | 3,150.00 |
| Disposal fee, mixed construction debris | 42 | ton | 68.00 | 2,856.00 |
| Concrete and block to recycler | 18 | ton | 32.00 | 576.00 |
| Hauling and disposal subtotal |  |  |  | 6,582.00 |

SITE RESTORATION

| Description | Qty | Unit | Unit price | Amount |
| --- | --- | --- | --- | --- |
| Backfill crawl space and foundation area | 95 | cu yd | 28.00 | 2,660.00 |
| Rough grade the lot | 1 | lot | 1,350.00 | 1,350.00 |
| Seed and straw disturbed area | 1,500 | sq ft | 0.18 | 270.00 |
| Restoration subtotal |  |  |  | 4,280.00 |

| Subtotal | 24,052.00 |
| --- | --- |
| Contingency (5%) | 1,202.60 |
| Sales tax, if applicable (0%) | 0.00 |
| Estimated total | 25,254.60 |
| Proposed deposit (10%) | 2,525.46 |

INCLUDED

- Demolition and removal of the structure and its foundation

- Hauling, disposal and recycling as listed

- Backfill, rough grading and seeding of disturbed areas

NOT INCLUDED

- Asbestos, lead or other hazardous-material abatement (quoted separately if the survey calls for it)

- Utility company disconnection fees

- Tree, driveway or sidewalk removal

ASSUMPTIONS

- Quantities are based on the site visit of 6 Oct 2026 and the survey report

- Equipment can reach the structure from the street

- Disposal tonnage is an estimate; actual tonnage is charged at the rates above

| Accepted by (client signature) |  | Print name and title |
| --- | --- | --- |
| Date |  | Contractor signature |

Prices are valid until the date shown above. Disposal quantities are estimates and may change.